## Test1
Bus Number | Section Number | Substation Number | Bus Name | Base kV | Area Num | Area Name | Zone Num | Zone Name | Owner Num | Owner Name | Code | Voltage (pu) | Angle (deg) | Normal Vmax (pu) | Normal Vmin (pu) | Emergency Vmax (pu) | Emergency Vmin (pu)
101 |  |  | NUC-A | 21.6 | 1 | FLAPCO | 77 | PLANT | 11 | GEN 1 | 2 | 1.02 | 16.55 | 1.1 | 0.9 | 1.1 | 0.9
102 |  |  | NUC-B | 21.6 | 1 | FLAPCO | 77 | PLANT | 11 | GEN 1 | 2 | 1.02 | 16.55 | 1.1 | 0.9 | 1.1 | 0.9
151 |  |  | NUCPANT | 500 | 1 | FLAPCO | 1 | FIRST | 1 | TRAN 1 | 1 | 1.0119 | 10.89 | 1.1 | 0.9 | 1.1 | 0.9
152 |  |  | MID500 | 500 | 1 | FLAPCO | 1 | FIRST | 1 | TRAN 1 | 1 | 1.017 | -1.12 | 1.1 | 0.9 | 1.1 | 0.9
153 |  |  | MID230 | 230 | 1 | FLAPCO | 1 | FIRST | 1 | TRAN 1 | 1 | 0.9935 | -3.24 | 1.1 | 0.9 | 1.1 | 0.9
154 |  |  | DOWNTN | 230 | 1 | FLAPCO | 1 | FIRST | 1 | TRAN 1 | 1 | 0.9392 | -9.88 | 1.1 | 0.9 | 1.1 | 0.9
201 |  |  | HYDRO | 500 | 2 | LIGHTCO | 2 | SECOND | 22 | GEN 2 | 1 | 1.04 | 6.16 | 1.1 | 0.9 | 1.1 | 0.9
202 |  |  | EAST500 | 500 | 2 | LIGHTCO | 2 | SECOND | 2 | TRAN 2 | 1 | 1.0088 | -1.32 | 1.1 | 0.9 | 1.1 | 0.9
203 |  |  | EAST230 | 230 | 2 | LIGHTCO | 2 | SECOND | 2 | TRAN 2 | 1 | 0.9666 | -6.92 | 1.1 | 0.9 | 1.1 | 0.9
204 |  |  | SUB500 | 500 | 2 | LIGHTCO | 2 | SECOND | 2 | TRAN 2 | 1 | 0.9789 | -3.73 | 1.1 | 0.9 | 1.1 | 0.9
205 |  |  | SUB230 | 230 | 2 | LIGHTCO | 2 | SECOND | 2 | TRAN 2 | 1 | 0.9493 | -9.18 | 1.1 | 0.9 | 1.1 | 0.9
206 |  |  | URBGEN | 18 | 2 | LIGHTCO | 2 | SECOND | 22 | GEN 2 | -2 | 1.0238 | -2.97 | 1.1 | 0.9 | 1.1 | 0.9
211 |  |  | HYDRO_G | 20 | 2 | LIGHTCO | 2 | SECOND | 22 | GEN 2 | 2 | 1.0403 | 12.92 | 1.1 | 0.9 | 1.1 | 0.9
3001 |  |  | MINE | 230 | 5 | WORLD | 5 | FIFTH | 55 | GEN 5 | 1 | 1.0298 | -1.37 | 1.1 | 0.9 | 1.1 | 0.9
3002 |  |  | E. MINE | 500 | 5 | WORLD | 5 | FIFTH | 5 | TRAN 5 | 1 | 1.028 | -1.83 | 1.1 | 0.9 | 1.1 | 0.9
3003 |  |  | S. MINE | 230 | 5 | WORLD | 5 | FIFTH | 5 | TRAN 5 | 1 | 1.0234 | -2.25 | 1.1 | 0.9 | 1.1 | 0.9
3004 |  |  | WEST | 500 | 5 | WORLD | 5 | FIFTH | 5 | TRAN 5 | 1 | 1.0165 | -3.43 | 1.1 | 0.9 | 1.1 | 0.9
3005 |  |  | WEST | 230 | 5 | WORLD | 5 | FIFTH | 5 | TRAN 5 | 1 | 0.9949 | -5.18 | 1.1 | 0.9 | 1.1 | 0.9
3006 |  |  | UPTOWN | 230 | 5 | WORLD | 5 | FIFTH | 5 | TRAN 5 | 1 | 0.9944 | -3.79 | 1.1 | 0.9 | 1.1 | 0.9
3007 |  |  | RURAL | 230 | 5 | WORLD | 5 | FIFTH | 5 | TRAN 5 | 1 | 0.9639 | -8.54 | 1.1 | 0.9 | 1.1 | 0.9
3008 |  |  | CATDOG | 230 | 5 | WORLD | 5 | FIFTH | 55 | GEN 5 | 1 | 0.9588 | -9.05 | 1.1 | 0.9 | 1.1 | 0.9
3011 |  |  | MINE_G | 13.8 | 5 | WORLD | 5 | FIFTH | 55 | GEN 5 | 3 | 1.04 | 0 | 1.1 | 0.9 | 1.1 | 0.9
3018 |  |  | CATDOG_G | 13.8 | 5 | WORLD | 5 | FIFTH | 55 | GEN 5 | -2 | 1.022 | -4.08 | 1.1 | 0.9 | 1.1 | 0.9